**Addendum for USB Instruments**

**USB Driver Installation**

On the installation CD there are 2 folders labelled :-

X64 and x86

Please open the folder appropriate to your computer, then start the MCP2200DriverInstallationTool.

This will then install the correct drivers for your USB device.

The software is now ready to be used with your ThermoBarScan instrument.